ME 3504

Process Monitoring and Control

_____________________________________________________________

Designing an Experiment

Experiment No. 1

- Thermal experiment:

  - Sensors – Thermometer, RTD, Thermocouple

  - How do you read it? what do you need?

  - What can we study?

    - Thermocouple calibration and its dynamic response

    - Thermal conductivity of material

    - Rate of cooling of plate, tube

    - Free & forced convection heat xfer coeff of a plate

      - Calibration of the sensor

      - 1st order system model for the test conducted

  - Comparing experimental results to theory

  - Logging data using our data acquisition system

- Experiment set-up – equipment needed

- Step-by-step procedure – how will you carry out the experiment

- Data to be collected – what are you going to read and how

- Analysis of the data – what are you going to look for; background theory; equations to be used; computations to be made …

- Data plots – for analysis, mathematical model …

- Interpretation – agreement/disagreement with theory – why?; mathematical model of the system

- Conclusions – limitations of the expt.; errors; improvements that can be made …

Deadlines:

Sept. 22nd – Understanding the temperature sensors: make a write-up on the

three sensors: principle of operation, how to be used, data output, etc.

Sept. 27th – Experimental set-up required: list of equipment, how they will

be connected, a preliminary procedure on how to conduct the expt.

Oct. 4th – Complete set-up in the lab; start the experiment

Oct. 11th – Complete the expt.

Oct. 18th – Final report due