ME 3504

Process Monitoring and Control

_____________________________________________________________________________________________________________

Designing an Experiment:  Experiment No. 2

Design an experimental set-up that can be modeled as a “2nd Order System”

- Static/Dynamic experiment: 2nd Order Systems

  - Sensors – Strain gauge, Accelerometer, LVDT

  - What do they measure? How do you read it? What do you need to set it up?

  - What can we study? Consider a physical system – say a cantilever beam or a two-storey model structure.  The structure consists of mass (m), damping (c) and stiffness (k).

    - Static/Dynamic response of a system

    - Extension/strain/displacement under load

    - Vibration of beam/rod/frame

    - Free & forced (impact) vibrations

      - Calibration of an accelerometer/LVDT

      - 2nd order system model for the test conducted

  - Comparing experimental results to theory

  - Logging data using our data acquisition system

- Experiment set-up – equipment needed

- Step-by-step procedure – how will you carry out the experiment

- Calibration: strain, LVDT

- Data to be collected – what are you going to read and how

- Analysis of the data – what are you going to look for; background theory; equations to be used; computations to be made …

- Data plots – for analysis, mathematical model …

- Interpretation – agreement/disagreement with theory – why?; mathematical model of the system

- Conclusions – limitations of the expt.; errors; possible improvements? …

Deadlines:

Tues. Nov. 8th – Understanding the static/dynamic sensors: make a write-up on

the three sensors: principle of operation, how to be used, set-up, data output, etc.

Tues. Nov. 15th – Experimental set-up required: list of equipment, how they will

be connected, a preliminary procedure on how to conduct the expt.

Tues. Nov. 29th – Complete set-up in the lab; start the experiment

Thurs. Dec. 1st – Complete the expt.

Thurs. Dec. 8th – Final report due

Basic principles:

Strain gauges:

- Stress/strain

- Hooke’s law

- Wheatstone bridges; bridge ckt.

- How would you compute strain

- Expt. setup for measurement of strain

LVDT:

- What is it and what does it measure?

- Principle - how does it function?

- Expt. setup for measurement of displacement

Accelerometer:

- What is it and what does it measure?

- Principle - how does it function?

- Expt. setup for measurement of displacement

Data acquisition:

- PC-based DACQ

- LabVIEW

Processing:

What are we looking for? Measurements; Calculations; Plots;