ME 3504 – Process Monitoring and Control

Lab Exercise No. 1 – September 06, 2005

_______________________________________________________

An Exercise in Basic Measurements

_______________________________________________________

Objective:	To understand the use of measuring devices for dimensions and analyze the data collected

Given:  	4 different samples (bolt, 2 mechanical components & golf ball)

Instruments:   Slide Calipers and Micrometer

Exercise:

- Measure all the possible dimensions to give a complete physical picture of each sample

- take 5 different readings for each dimension with each instrument

- each member of the group will take measurements on ALL the samples

- collect the dimensional data from all the groups for each sample

- compute the mean, median, mode, standard deviation and variance for the entire set of data

QUESTIONS:

- Is there a significant variation in the major dimensions of each sample as measured within the group as well as by the different groups?

- Is there a significant difference in the measurements taken with the calipers versus the micrometer?

- Make a histogram of the data for any three major dimensions (take one dimension from each sample, for example - golf ball diameter or length of the bolt) from all the groups, and discuss any similarities to a Gaussian distribution

- What are the possible uncertainties in the measurements that you have made – explain

- Comment on the types of errors that you have possibly encountered in your measurements (be specific)

Report your findings in a standard report format, including the following:

- Details for each Instrument (as best as possible):

Manufacturer & Specifications of the instrument; serial number

Range, Resolution, Precision, etc.

- brief write-up on how measurements are taken using these two measuring instruments

- Draw a neat figure of each sample to scale, indicating all the dimensions

- Tabulate all your readings for each sample

- Submit plots for different parameters that gives some insight about the variation in the dimensions

- Show all the statistical computations, including the formulae used

- Comment on the accuracy of your readings including possible sources of error, etc.

- Conclusions

- References

- Anything else that would make the report as complete as possible

# And finally …

- Each student will submit their individual report.

- The Report will be graded based on the quality of the presentation, format, meaningful explanations/discussions and overall professional quality.

- Maintain all the details of your exercise in your log book.

- Search the Internet to obtain additional details and information.  Make it a habit !